## Slide 1: LOW self-calibration benchmarking
Stefano Corda
stefano.corda@epfl.ch
06-09-2023
SKACH days

## Slide 2: SKA low self-calibration pipeline
  First three iterations of the Rapthor pipeline (DD self-calibration)
  Completed in 8 steps with ~30 GB dataset
  Python routine (delivered by SCHAAP Team) calls DP3 & WSClean
https://github.com/lofar-astron/DP3 https://gitlab.com/aroffringa/wsclean
Notes: Iteration 1:
Calibrate_1: based on the phase center of the MS, the skymodel is downloaded and grouped in patches Those are used for a phase-only calibration.
Predict_1: the sources which lie outside the field we want to image are predicted and subtracted in the visibility space. This produces the Ms: ms_no_outliers, which is further used throughout the pipeline
Image_1: The dataset is imaged and the solutions in calibrate_1 are applied while imaging.
Iteration 2:
Calibrate_2: using the new skymodel produced by image_1, run a phase_only calibration
Image_2: Same as image_1, whith updated solutions
Iteration 3:
Calibrate_3: using the new skymodel produced by image_2, run two DDECal: scalarphase and complexgain. The solutions are then combined.
Predict_3: extract the bright sources from the skymodel and predict them. Those are subtracted from the MS in the visibility space. This creates the MS: ms_no_out;liers_no_bright_sources, which is further used for imaging.
Image_3: the dataset is imaged. Afterwards, the bright sources are put back in the image and in the output skymodel.

## Slide 3: “Portable” installation of DP3/WSClean
  Fix Aoflagger/DP3 spack recipes
  Custom casacore spack recipe (WRST data)
  Dysco spack recipe
  RUM spack recipe
  CI/CD on ASTRON DAS-6
  Install DP3/WSClean on several clusters (EPFL, CSCS, Jean-Zay)
https://git.astron.nl/RD/schaap-spack
https://gitlab.com/ska-telescope/sdp/ska-sdp-rum
https://github.com/aroffringa/dysco
https://github.com/lofar-astron/DP3
https://gitlab.com/aroffringa/aoflagger
https://gitlab.com/aroffringa/wsclean

## Slide 4: Resource Usage Monitoring (RUM) - Profiling
RUM
  Collecting cpu/disk/memory/network usage statistics from system files (e.g. diskstat, meminfo)
PMT (Power Measurement Toolkit):
  Larger dump interval to file
  Cray back end
https://gitlab.com/ska-telescope/sdp/ska-sdp-rum
https://git.astron.nl/RD/pmt
S. Corda, B. Veenboer and E. Tolley, “PMT: Power Measurement Toolkit”, SC 2022 (HUST)

## Slide 5: PI18-19

## Slide 6: Execution time
The application runs with the default setting of 40 threads

## Slide 7: Output samples

## Slide 8: Perf (calibrate_1 and predict_1)

## Slide 9: Perf (image_1 and calibrate_2)

## Slide 10: Perf (image_2)
The image steps spend a lot of time on fft (copy input and output) and gridding.
The calibrate steps spend most a good percentage of time on complex multiplications and sincos operations.
The predict step spends time on sincos and, ApplyCal::ApplyDiag and OnePredict::Process.

## Slide 11: Power distribution (PMT-rapl)
TODO: fix PMT bug (negative values RAPL)

## Slide 12: CPU and Memory usage
Low CPU and memory usage

## Slide 13: CPU and Memory usage
Low CPU and memory usage

## Slide 14: CPU and Memory usage
Medium CPU and memory usage
Notes: Memory

## Slide 15: CPU and Memory usage
Low CPU and memory usage

## Slide 16: CPU & Power usage
CPU usage & Power usage are strictly correlated

## Slide 17: Scaling threads (calibrate_1)
Threads trade-off?

## Slide 18: Scaling threads (predict_1)
Less threads  faster

## Slide 19: Scaling threads (image_1)
More threads  faster

## Slide 20: Scaling & pin threads (calibrate_1)
1 socket > 2 socket

## Slide 21: Jean Zay (reduced dataset)
calibrate_1
predict_1
image_1
Credits: Aristide Doussot

## Slide 22: EPFL jed (reduced dataset)
Reduced dataset
PI18 dataset

## Slide 23: CSCS Piz Daint
  Installed the same GCC version as in other clusters (9.4.0):
    Support for binutils & install_missing_compilers
  Installed all the needed libraries (everybeam, DP3, WSClean, Dysco …) in /store/ska/sk04/spack181
  Everybeam issue (spack 0.4.0 & pip 0.5.1)  uninstall the pip version
  HDF5 issue --> export HDF5_USE_FILE_LOCKING=FALSE (login nodes vs compute nodes)
  Report in /scratch/snx3000/scorda/rapthor_working_dir

## Slide 24: Ex. Time breakdowns
Jean Zay
Piz Daint
Jed
Credits: Aristide Doussot

## Slide 25: Summary
  A lot of debugging activities…
  Good understanding of the LOW self-calibration
  Deployment on several systems
  Initial benchmarking activities
  Initial integration into the SDP benchmark suite (see other presentation today)

## Slide 26: Improvement items PI20 onward
  Run multi-node LOW self-cal pipeline.
  Detailed (vendor dependent) profiling (VTune etc.).
  Optimizations proposals (and possibly implementations).
  Include pipeline in simplified benchmark suite.