## Slide 1: Each Station IS AS Unique as A Snowflake : The Consequences of Assuming Uniformity for EOR Science
AMAN CHOKSHI
NICHOLE BARRY, BART PINDOR
JACK LINE, RACHEL WEBSTER

## Slide 2: EPOCH OF REIONIZATION

## Slide 3: FOREGROUNDS

## Slide 4: Foreground – Instrument Systematic Coupling
Spectral characteristics - discriminate EoR vs foregrounds
Massive dynamic range – absolute precision on all levels
Instrumental systematics – beam, bandpass and more
Foreground model – A-team, galactic plane, polarization
Necessitate large and detailed instrumental characterization & simulations

## Slide 5: Radio Beams
Antenna Radiation
Pattern (Beam)
First Sidelobe
Primary Beam
Synthesized Beam

## Slide 6: Van CITTERT-Zernike Theorem
The mutual coherence function of an infinitely distance source can be used to reconstruct its image
Beam Response
Sky Intensity
Geometric Phase Term
(Sampled Mode)

## Slide 7: THE MURCHISON WIDEFIELD ARRAY
[©️ CAASTRO]
128 tiles (stations), pseudo-random
4 x 4 array of bow-tie dipoles
Frequency band: 70 – 300 MHz
Field of View at 150 MHz ≈ 25 ° [FWHM]
~ 1 arcminute resolution

## Slide 8: Satellite BEAM EXPERIMENT
Two reference antennas
Record modulation in RF signals
Single dipoles on 5 x 5 m mesh
Each pass probes a cross section
of the beam response
Gradually build up an all sky
beam pattern

## Slide 9: SATELLITE BEAM EXPERIMENT
Pref = F. Bref
PAUT = F. BAUT

## Slide 10
[ MWA Satellite Beam Measurements - Chokshi et al. 2020, 2021 ]

## Slide 11: Try it with your Telescope!

## Slide 12: Deformed Beam & EoR SCIENCE
Deformed beams encoded within observed data
Perfect beam model used for calibration
Simulate 30,000 complex foreground sources w/ deformed beams
Calibrate with prefect & deformed set of beams
Power spectrum & spectral leakage
Subtract models of brightest sources

## Slide 13: DEFORmED BEAMS
Modulate 16 dipole gain amps
Emulate realistically deformed
MWA beam
Simulation fun

## Slide 17: Deformed BEAMS AND THE EoR
[ Chokshi et al. in prep 2024]
Imperfect Calibration
Expected EoR Level
Perfect Calibration
{

## Slide 18: Deformed BEAMS AND Calibration Errors

## Slide 19: What does this mean?
At EoR precisions, various faint systematics can dominate a detection
Hope isn’t lost, we need to measure & monitor individual beams
Explore hybrid drone-satellite beam mapping methods
We need to start thinking about it as new telescope start getting built
Chokshi et. al. 2024 (in prep)

## Slide 20: THANK YOU
@aman_chokshi