## Slide 1
Local Monitor And Control SADT.NMGR
SKA Engineering Meeting
4th October 2016
Murali Bommineni
Vivek Mohile
Praveen Diwakar
(for NCRA, India)

## Slide 2: Overview
An LMC / “Control Plane” of SADT
  Telescope Manager (TM) Manages the SADT Components
NMGR – A Network Manager for SADT Components
  DDBH Network
  NSDN Network
  CSP-SDP Network
COTS based Solution
  Nagios

## Slide 3: Overview
3 Servers
  NMS Application Server
  DB
  Syslog
Interfaces with TM – NBI
  Enables SKA, Monitor and Controlling Operations
  A Software Module
Interfaces with SADT Work Packages - SBI
  DDBH
  CSP/SDP through NREN-EMS
  NSDN
Communication with NBI and SBI will be provided by NSDN

## Slide 4: PBS
NMGR Server (EMS)
NMGR Server (DB)
NMGR Server (SysLog)
Network Manager-SKA1-LOW
143-000000
Rack Space_Shelf_Slot
Firmware Software (OS)
NMS Software
(T)FTP Server Software
Patch Cable (LAN-RJ-45)
Power Lead
Rack Space_Shelf_Slot
Firmware Software (OS)
DB Software (MySQL)
Patch Cable (LAN-RJ-45)
Power Lead
Rack Space_Shelf_Slot
Firmware Software (OS)
SysLog Software
Patch Cable (LAN-RJ-45)
Power Lead
Note: PBS is same in both MID and LOW Context
Product Numbers are different

## Slide 5
Design And Architecture

## Slide 6: Architectural View
NMGR LMC Architecture Model, would be Same in both the SKA Contexts i.e., MID and LOW
Architectural Model
  Modular and Layered
  Publish-Subscribe
  Object Broker
Design Patterns TBD
  Observer
  Façade
  Factory
  Singleton
  MVC
Technologies being Consumed
  Java based LMC/Device Server
    Final Implementation
  Prototype: Python Based
  REST-WS Architectures
  Interface with COTS-Nagios
TM
Inter-Connection: TANGO Server to NMGR
SADT NMGR – LMC
DB
Interconnect Observer
Management Layer
Event Handler
Function Handler
Function Handler
Function Handler
NMGR
NMGR DB
NBI - External Interface Controller
App Server
Rule-Engine
Scheduler
Web UI Controller
Management Layer
Function Handler
Function Handler
Adapter
Topology Discovery
Analytics
Reporting
SBI Interactions
Connectivity over SADT.NSDN Network

## Slide 7: Interfaces
External
  Telescope Manager (TM)
  INFRA ??
  AIV ??
Internal
  SADT.DDBH Network
    DDBH EMS
    DDBH L2 Network Elements
  SADT.NREN_EMS
  SADT.NSDN

## Slide 8: NMGR-DDBH Interface
NMGR
NMGR – CPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
NMGR – SPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
DDBH Network
DDBH L1 Elements
DDBH
EMS
Syslog Messages
I.S1M.NMGR_DDBH.003
REST I/F
I.S1M.NMGR_DDBH.002
SNMP (V3 Port 161/162)
I.S1M.NMGR_DDBH.001
DDBH L2 Elements
SNMP (V3 Port 161/162)
I.S1M.NMGR_DDBH.004
Syslog Messages
I.S1M.NMGR_DDBH.005
SKA1-MID Context

## Slide 9: NMGR-DDBH Interface
NMGR
NMGR – CPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
NMGR – SPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
DDBH Network
DDBH L1 Elements
DDBH
EMS
Syslog Messages
I.S1L.NMGR_DDBH.008
REST I/F
I.S1L.NMGR_DDBH.007
SNMP (V3 Port 161/162)
I.S1L.NMGR_DDBH.006
SKA1-LOW Context

## Slide 10: NMGR-NREN_EMS (CSP_SDP)
NMGR
NMGR – CPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
NMGR – SPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
CSP-SDP / NREN EMS
NREN EMS
Syslog Messages
I.S1M.NMGR_CSPSDP.004
REST I/F
I.S1M.NMGR_CSPSDP.003
SNMP (Port 161/162)
I.S1M.NMGR_CSPSDP.001
FTP
I.S1M.NMGR_CSPSDP_002
CSP N/W
SDP N/W
CSP-SDP
Link/Network
SKA1-MID Context

## Slide 11: NMGR-NREN_EMS (CSP_SDP)
NMGR
NMGR – CPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
NMGR – SPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
CSP-SDP / NREN EMS
NREN EMS
Syslog Messages
I.S1L.NMGR_CSPSDP.004
REST I/F
I.S1L.NMGR_CSPSDP.003
SNMP (Port 161/162)
I.S1L.NMGR_CSPSDP.001
FTP
I.S1L.NMGR_CSPSDP_002
CSP N/W
SDP N/W
CSP-SDP
Link/Network
SKA1-LOW Context

## Slide 12: NMGR-NSDN Interface
NMGR
NMGR – CPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
NMGR – SPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
NSDN Network
L.S1M.NMGR_NSDN.001
SKA1-MID Context
CPF Top of Rack Switch
342-022000
SPC Top of Rack Switch
342-041000
All NSDN Equipment as per PBS
(All Locations)
L.S1M.NMGR_NSDN.002
L.S1M.NMGR_NSDN.003
L.S1M.NMGR_NSDN.004
L.S1M.NMGR_NSDN.005
L.S1M.NMGR_NSDN.006
L.S1M.NMGR_NSDN.001
L.S1M.NMGR_NSDN.002
L.S1M.NMGR_NSDN.003
L.S1M.NMGR_NSDN.004
L.S1M.NMGR_NSDN.005
L.S1M.NMGR_NSDN.006
L.S1M.NMGR_NSDN.007
L.S1M.NMGR_NSDN.008 (CLI)
L.S1M.NMGR_NSDN.009 (TFTP)
L.S1M.NMGR_NSDN.010 (SNMP)

## Slide 13: NMGR-NSDN Interface
NMGR
NMGR – CPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
NMGR – SPF
NMGR - App Server
NMGR - DB Server
NMGR - Sys Log Server
NSDN Network
L.S1L.NMGR_NSDN.001
SKA1-LOW Context
CPF Top of Rack Switch
142-022000
SPC Top of Rack Switch
142-041000
All NSDN Equipment as per PBS
(All Locations)
L.S1L.NMGR_NSDN.002
L.S1L.NMGR_NSDN.003
L.S1L.NMGR_NSDN.004
L.S1L.NMGR_NSDN.005
L.S1L.NMGR_NSDN.006
L.S1L.NMGR_NSDN.001
L.S1L.NMGR_NSDN.002
L.S1L.NMGR_NSDN.003
L.S1L.NMGR_NSDN.004
L.S1L.NMGR_NSDN.005
L.S1L.NMGR_NSDN.006
L.S1L.NMGR_NSDN.007
L.S1L.NMGR_NSDN.008 (CLI)
L.S1L.NMGR_NSDN.009 (TFTP)
L.S1L.NMGR_NSDN.010 (SNMP)

## Slide 14: Operations Supported/Proposed
Event Subscribe
Alarms Synchronize
Topology Request
Performance Request
Status Request
Operator Manage

## Slide 15: Data Flow Example
NMGR App Server
TM
Engineer/
Operator
NBI-External Interface Controller
1. Operator / TM System Initiates to fetch the latest Alarms from SADT.NMGR / LMC
LMC for SADT WP Components
Fault Management
Fault Management
NBI-Fault Event Handler
NMGR DB
Fault Management
Fault Management
SBI-Fault Management
Data Access Layer
DDBH Network
DDBH L2 Elements
DDBH EMS
L1 Elements
NREN EMS
CSP-SDP Network
NSDN Elements
NREN EMS
REST API
TM/TANGO Interface
ORB Call

## Slide 16: Data Flow Example
NMGR App Server
TM
Engineer/
Operator
NBI-External Interface Controller
2. LMC Device Server Invoked Fault Event Handler based on Operation Type
LMC for SADT WP Components
Fault Management
Fault Management
NBI-Fault Event Handler
NMGR DB
Fault Management
Fault Management
SBI-Fault Management
Data Access Layer
DDBH Network
DDBH L2 Elements
DDBH EMS
L1 Elements
NREN EMS
CSP-SDP Network
NSDN Elements
NREN EMS
LMC Internal Adapter Invocation
TM/TANGO Interface
ORB Call

## Slide 17: Data Flow Example
NMGR App Server
TM
Engineer/
Operator
NBI-External Interface Controller
3. Initiates / Interacts with NMGR Server using REST I/F
LMC for SADT WP Components
Fault Management
Fault Management
NBI-Fault Event Handler
NMGR DB
Fault Management
Fault Management
SBI-Fault Management
Data Access Layer
DDBH Network
DDBH L2 Elements
DDBH EMS
L1 Elements
NREN EMS
CSP-SDP Network
NSDN Elements
NREN EMS
REST API
LMC Internal Adapter Invocation
TM/TANGO Interface
ORB Call

## Slide 18: Data Flow Example
NMGR App Server
TM
Engineer/
Operator
NBI-External Interface Controller
4. Fetched the data from DB (via REST I/F)
Processes the data, Marshalls the data to return TANGO
LMC for SADT WP Components
Fault Management
Fault Management
NBI-Fault Event Handler
NMGR DB
Fault Management
Fault Management
SBI-Fault Management
Data Access Layer
DDBH Network
DDBH L2 Elements
DDBH EMS
L1 Elements
NREN EMS
CSP-SDP Network
NSDN Elements
NREN EMS
REST API
LMC Internal Adapter Invocation
Marshalling the Data before Sending to TM
TM/TANGO Interface
ORB Call

## Slide 19: Data Flow Example
NMGR App Server
TM
Engineer/
Operator
NBI-External Interface Controller
5. Sent data to TANGO Client i.e., TM
LMC for SADT WP Components
Fault Management
Fault Management
NBI-Fault Event Handler
NMGR DB
Fault Management
Fault Management
SBI-Fault Management
Data Access Layer
DDBH Network
DDBH L2 Elements
DDBH EMS
L1 Elements
NREN EMS
CSP-SDP Network
NSDN Elements
NREN EMS
REST API
LMC Internal Adapter Invocation
Marshalling the Data before Sending to TM
TM/TANGO Interface
ORB Call
TM/TANGO Interface
Asynchronous ORB Call

## Slide 20: Prototype
LMC Device Server
  TANGO (Ver 9)
    ORB Based
  Extending Using Pycharm Ver. 4.5
    Python Based, Ver. 2.2.6, 64-Bit
  Development Environment
    GitHub – Establishment in Progress
  OS
    Linux VM (Ubuntu 14.0.1)

## Slide 21: Prototype
Implementation Process
  Sample Operation Implementation
    Alarms Synchronize
  NMGR Setup
    Installation of NMGR
    Simulating SNMP Alarms (L2 Switch)
    Display in NMGR UI
  TANGO Server Setup
  TANGO Extension
    Using Pycharm (Python Based)
  Integration with NMGR
    REST I/F is being Used
  TANGO Client (a Simulator which is generated using TANGO Framework)
    Display the alarms in CLI

## Slide 22: Prototype – Going Forward
LMC Prototype Progress
2016-July
PDR Baselined
NMGR Setup
2016-September
TANGO Implementation
Client & Server Communication
2016-October
TANGO Extension
Alarms Synchronization
2016-November
Design Baselining

## Slide 23: Current Status
Design activity is initiated
  Being discussed
  Proposed logical design
  Being verified by conducting prototype
Prototype activity is initiated
Discussions being held with TM Team
  Roles and Operations
  Further discussions are needed

## Slide 24: Open Issues / Activities TBD
TM, NMGR Interface - EICD
  Supported Operations
  Event Messaging Structure
    Severity Levels
    Asynchronous operations
  Data Retention
  Operator Status
  Operator Operations
Awaiting the meeting with TM Team

## Slide 25: Open Issues / Activities TBD
Review of Operations between TM and NMGR
Event Mechanism
Event Priorities
Data Retention
Operator Status
Asynchronous Messaging
Duration of Synchronous
Duration of Asynchronous events